# Menu options and Settings
## Home page
When EEZ Studio is started for the first time, the Home tab is displayed, in which the Projects and Instruments sections can be seen at the same time (Fig. 1).
The Project section will be described in detail in chapters xx to xx, and the Instrument section in chapters xx to xx.

## Menu options
Fig. 1: Home page
All menu options available from both sections of EEZ Studio are listed below.
### File
Option	Shortcut	Description
New project...	Ctrl + N	Creates a new project.
Add instrument...	Alt + Ctrl + N	Adds an instrument to the EEZ Studio workbench that can be controlled.
New Window	Ctrl + Shift + N	Opens a new copy of the window.
Open...	Ctrl + O	Opens an existing project.
Open Recent		List of recently opened projects.
Import Instrument Definition...		Import IEXT (Instrument EXTension) file.
Save	Ctrl + S	Saving project files.
Exit		EEZ Studio shutdown.

### Edit
Option	Shortcut	Description
Undo	Ctrl + Z	Undo previous action.
Redo	Ctrl + Y	Redo previous action.
Cut	Ctrl + X	Move content to Clipboard.
Copy	Ctrl + C	Copy content to Clipboard.
Paste	Ctrl + V	Paste content from Clipboard.
Delete	Del	Delete selected content.
Select All	Ctrl + A	Select all content.

### View
Option	Shortcut	Description
Home		Return to the Home tab.
History		Opening the Instrument’s History tab.
Shortcuts and Groups		Opening the Instrument’s Shortcuts and Groups tab.
Notebooks		Opening the Instrument’s Notewbooks tab.
Extension Manager		Opening the Instrument’s Extension Manager tab.
Settings		Opening the Settings tab (Fig. 2).
Toggle Full Screen	F11	View EEZ Studio in full screen (select F11 again to restore).
Toggle Developer Tools	Ctrl + Shift + I	Opening the developer tools in the right part of the window.
Switch to Dark Theme	Ctrl + Shift + T	Toggle between Light and Dark theme.
Zoom In	Ctrl + +	Zoom in (enlargement) of all screen elements. / On some Linux distributions you will need to use Ctrl + Shift + + as a shortcut.
Zoom Out	Ctrl + -	Zoom out (reduction) of all screen elements.
Reset Zoom	Ctrl + 0	Returning the zoom to the default level.
Reload		Reload all content.

Database location
Fig. 2: Settings tab
A database is used to store the data collected in communication with the instruments. An empty base is created at first launch and its location can be seen here. You can also change the location here to one of the existing databases (backup, imported from another EEZ Studio, etc.).

Changing the parameters of the database requires a restart of EEZ Studio. The Restart button will be displayed in the lower right corner.

Create New Database
Creating a new database with the name and location you specified.

Show in Folder
View the folder where the database is located.

Locale
Defines the date and time formats for the selected country.

Changing the Locale requires a restart of EEZ Studio. The Restart button will be displayed in the lower right corner.

Date format
Display format of all date values.

Time format
Display format of all time values.

Dark theme
Toggle between Light and Dark theme (same as shortcut Ctrl + Shift + T).
### Help
Option	Shortcut	Description
About		Opens the EEZ Studio version information (Fig. 3).

Check for Updates
Fig. 3: About page
This function requires an internet connection in order for EEZ Studio to connect to the GitHub repository and check for a newer version than the one installed.
This function does not take into account versions that have a pre-release status, but only released versions.

Home
Opens the home page of the Envox official site (requires internet browser installed).

Github
Opens Envox's GitHub home page (requires internet browser installed).