# SelectInstrument
## Description
Opens a dialog box for selecting an instrument. The selected instrument is sent to the instrument output.
It will not be necessary to use this Action if the global instrument object variable is set to Persistent, because the instrument selection dialog box will open immediately when the dashboard is started. However, if we don't want the instrument selection dialog box to open automatically at startup, then we must not enable the Persistent checkbox for the global instrument variable and we can use this Action later to select the desired instrument.

## Properties

General
### Description String / This is the description of the Action component. Description is displayed below the component in the Project editor/viewer. In the main toolbar, it is possible to hide or display descriptions of all components with one click.

Flow
### Inputs Array / Additional component inputs that the user can add as desired in order to use them to receive additional data needed when evaluating expressions in properties. Each input is given a name and type. Name is used when referencing an input within an expression. A type is used to project Check to check whether a data line that transmits data of that type is connected to the input or not. / ### Outputs Array / Additional component outputs that the user can add to send data through. Each output is assigned a name and type. An example of using this output is e.g. in the Loop component, where we can put the output name for the Variable property instead of e.g. variable name. In that case, the Loop component will not change the content of the variable in each step, but will send the current value through that output. / ### Catch error Boolean / If this checkbox is enabled then an @Error output will be added to the component and if an error occurs in this component during the execution of the Flow, the Flow will continue through that output. The data that will be passed through that output is the textual description of the error.

Position and size
### Align and distribute Any / Alignment icons and component distribution. Alignment icons appear when two or more components are selected, and distribution icons appear when three or more components are selected.

## Inputs
### seqin SEQ | MANDATORY
A standard sequence input.

## Outputs
### seqout SEQ | OPTIONAL
A standard sequence output.

### instrument DATA(object:Instrument) | MANDATORY
The selected instrument is sent to this output.